{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":38,"n_cols":4,"rows_kept":38,"merged":[[0,0,0,3],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[17,0,18,0],[17,1,18,1],[17,2,18,2],[17,3,18,3],[20,0,21,0],[20,1,21,1],[20,2,21,2],[20,3,21,3],[29,0,31,0],[29,1,31,1],[29,2,31,2],[29,3,31,3]]}
["健翔桥校区安防维保设备清单"]
["名称","数量","品牌制造商","备注"]
[]
["红外一体枪型摄像机",213,"海康"]
["星光级超低照度网络红外半球摄像机",51,"海康"]
["星光超低照度网络红外球机",24,"海康","报警柱未计入摄像机数量"]
["其他品牌摄像机",32,"其他","含大华等其他品牌"]
["IPSAN存储",3,"海康"]
["扩展柜",2,"海康"]
["监控专用企业级存储硬盘（每块4T）",107,"海康"]
["液晶拼单元",15,"海康"]
["硬盘录像机",3,"海康","16路"]
["客户端工作站",5,"其他"]
["防入侵报警系统","1套","其他","含5台双鉴探测器"]
["巡更系统","1套","其他","15点位"]
["室外紧急报警求助装置","3台","杭州海康威视数字技术股份有限公司","无"]
["微型断路器","1只","浙江正泰建筑电器有限公司","无"]
["机柜PDU","4套","云南科海电子有限公司","无"]
[]
["触摸屏","1台","杭州海康威视数字技术股份有限公司","无"]
["光纤收发器","8对","杭州海康威视数字技术股份有限公司","无"]
[]
["声光报警器","1个","杭州天冠科技有限公司","无"]
["UPS配线","1套","天润一舟(北京)科技有限公司","无"]
["电梯随行电缆","200米","天润一舟(北京)科技有限公司","无"]
["光缆","500米","天润一舟(北京)科技有限公司","无"]
["主干光纤","1500米","天润一舟(北京)科技有限公司","无"]
["视频质量诊断系统","1套","杭州海康威视数字技术股份有限公司","无"]
["六类数据线缆","21000米","北京汉维恒信通信技术有限公司","无"]
["视频监控管理平台软件","1套","杭州海康威视数字技术股份有限公司","无"]
[]
[]
["杀毒软件","1套","北京瑞星信息技术股份有限公司","无"]
["防火墙","1台","杭州华三通信技术有限公司","无"]
["防病毒软件","1套","北京瑞星信息技术股份有限公司","无"]
["ups主机",1,"艾福瑞斯","AF910"]
["ups电池",48,"艾福瑞斯","无"]
["电池柜",3,null,"无"]